## Sheet1
Project Name: CONSTRUCTION OF COMMERCIAL BUILDING (OFFICE CUM RESIDENTIAL) AT NO,317, Anna Salai, Teynampet, Chennai -600018 - INDIAN INSTITUTE OF BANKING AND FINANCE (IIBF), CHENNAI
POINTS ADDED/ AMENDED UNDER CORRIGENDUM DATED 10/07/2025
S.No | Page No / BoQ No | Tender Description | ADDITIONS/ AMENDMENTS
1 | 6 of 109 | The offer of the Contractor shall remain valid for a period of minimum 120 days from the date of opening of tender and thereafter until it is withdrawn by the Contractor. The Bid security accompanying the bid shall be valid for 30 days beyond the bid validity period. | The Bid Validity and EMD Validity is 120 days
2 | 12 of 108 | The Tenderer shall fill in the rates and amount both in figures as well as in words. The amount for each item should be worked out and totalled. | The financial bid must be submitted in both hard copy and soft copy formats. The rates and amount to be filled in both figures and words. The rate format may be typed, printed, and submitted accordingly; this will be accepted. However, the total amount for each package must be clearly written in words in the hard copy. In case of any discrepancy between the figures and the words, the amount written in words will be considered final.
3 | 26 of 109 | The project aims to achieve GRIHA-rated green building certification. The Contractor shall coordinate closely with the designated Consultant to ensure that all necessary measures are taken to achieve the desired rating. This includes, but is not limited to, providing all required documentation and support for the certification process. | The project aims to achieve a minimum 4-Star Green Rating. The removal of existing trees and transplanting the tress outside the site / within the site shall be treated as a separate item and it is included in the BoQ.
4 | 65 of 109 | The CONTRACTOR should inspect and examine the site and its surrounding thoroughly and should acquaint himself about the nature of ground, sub-soil conditions, topography of site, existing structure(s), availability of water, food stuff, labour and other facilities, before tendering for this work. No claims shall be entertained for his failure in this matter. | There are no underground structures, foundations, or utility lines identified at the site. However, if any such structures are founded during execution, the actual cost incurred will be paid seperately.
5 | 66 of 109 | A waterproof and lockable Temporary Site Office for EMPLOYER (IIBF)/ARCHITECTS to be provided by the Contractor. These offices shall be provided with all sanitary, water supply and electrical services and shall be kept in clean and tidy conditions. Necessary display boards, office furniture, almirahs, 1 laptop / PC with A3 Printer & Scanner and telephone facilities will be provided therein, all at CONTRACTOR’S cost. | Minimum office area shal be 200 sqft - (2 seats for client, 6 seats for PMC/Architect).
6 | BoQ Item no.9 | Note for item no. 2.24:- The extra percentage rate is applicable in respect of each item but limited to quantities of work executed in these difficult conditions. The unit, namely, metre depth, to be considered for payment, shall be the depth measured from the sub soil water level up to the centre of gravity of the qty executed in difficult conditions. The depth shall be reckoned correct to 0.10 m, 0.05 m or more shall be taken as 0.10 m and less than 0.05 m ignored. Will be measured as Plinth area basis as per DSR. | Dewatering item will be measured in hp/ Hrs.
7 | BoQ Item no.11 | Excavating, supplying and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc. complete. | Soil Filling is with both available earth and brought out earth, depends on the quality of soil.
8 | BoQ Item no.61 | 12 mm thick plain cement mortar bands in cement mortar 1:4 (1 cement : 4 fine M sand): Moulded Band. Unit: Cm Per Meter. | Band width is 15 cm. Measuement will be taken as per actual running meter.
9 | BoQ Item no.62 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | Grooves size 25x25mm and Drip size 100x50mm
10 | BoQ Item no.73 & 84 | Terrace Tiles and Exposed Stone Cladding | Basic rates for Terrace tiles will be Rs.45 / sqft and Exposed stone cladding is Natural stone - Rs.120 /sqft
11 | BOQ MS. SHEET PILE SHORING | Note:- Billing measurement of the area to be taken by length of the driven sheet multiplied by perimeter of the boundary if the sheet pile The Quoted rated need to consider for two- month basis | Actual Driven Length will be measured for Payment
12 | BoQ Item no.80 | Aluminium Fins of Size 100 X 75mm | In the BoQ detailed specifications given, rate to be quoted as per the specifications. Detailed drawings will be provided at later stage only.
13 | BoQ Item no.30 | Aluminium works for Doors and windows - Sliding Doors | In the BoQ detailed specifications given, rate to be quoted as per the specifications. Detailed drawings will be provided at later stage only.
14 | BoQ Item no.52 | 18mm thick Granite stone for Counters | This item is only for Granite Edge moulding.
15 | BoQ Item no.56 | Planting Trees and Plant shrubs | In External BOQ Item No.56 - stands deleted.
16 | BoQ Item no.66 | Chain Link Fence | Drawings now provided
17 |  | External Development BOQ (Item no 1c,10f, 10g, 11 ,14, 24, 26, 37, 46) | This is a QRO item. Rate only to be quoted for this item. It will not be included in the financial evaluation.
18 | BoQ | CCTV Drawing | Refer Electrical Drawing NO 4306-00-EL 03-07
19 | BoQ | DG | DG Vendor has to provide the Structural Stack details.
20 | General |  | Statutory Approvals: The following statutory approvals have already been obtained and are available with us: i) CMDA Planning Permission ii) Local Body (Chennai Corporation) Building Approval iii) CMRL (Chennai Metro Rail Limited) NOC The Contractor shall be responsible for obtaining all other necessary statutory approvals, clearances, and completion certificates required for the successful completion and handover of the project, including but not limited to: i) CMDA Completion Certificate ii) Local Body (Chennai Corporation) Completion Certificate iii) TNPCB – Consent to Establish (CTE) and Consent to Operate (CTO) iv) Fire Approval and License (if applicable) v) CEIG (Chief Electrical Inspector to Government) & TNEB Approvals vi) Sewage Connection Approval vii) Temporary Power Supply from TNEB viii) Lift Installation License and Approval IX) Any other Construction building related approval if required. Note: The cost of statutory payments supported with official receipts shall be borne by the Client.
21 | 26 of 109 | The project aims to achieve GRIHA-rated green building certification. The Contractor shall coordinate closely with the designated Consultant to ensure that all necessary measures are taken to achieve the desired rating. This includes, but is not limited to, providing all required documentation and support for the certification process. | The project aims to achieve a minimum 4-Star Green Rating.
22 | 34 of 109 | The CONTRACTOR shall give all necessary personal superintendence during the execution of the works, and as long thereafter as the Architect and EMPLOYER (IIBF) may consider necessary until the expiration of the Defect Liability Period. | During the Defect Liability Period (DLP), the contractor’s personnel to make periodic site visits once a month and additionally respond to specific service requests from the IIBF.
23 | 43 of 109 | Under normal circumstances, blasting will not be permitted for excavations. If necessary, it will be allowed only after taking permission from the concerned local bodies. The responsibility of taking permission including remittance of fees will be with the contractor. | Blasting is not required as per our site and soil conditions.
24 | 72 of 109 | Grey ordinary Portland cement 53 grade confirming to IS12269 – 1987 and 43 grade confirming to IS8112- 1989, reinforcement steel Fe 500 conforming to IS 1786 and structural steel confirming IS 2062 shall be procured by the Contractor and stored at the site of work as certified by consultant during the work in progress. | PPC / Blended can be used for piling and below substructure works. For Above substructure works, OPC cement can be used.
25 | 2 | External work BoQ (Landscape) 3 item rate Line items mentioned | In External BOQ Item No.56 - stands deleted. The other Tender BoQ items remains same.
26 | 14 of 109 | i) The BIDDER should be a well-established Civil Engineering contractor, registered as a legal entity and having an experience of minimum 5 years and shall have experience in Civil Construction, HVAC, Electrical HT/LT, DG Sets, IBMS, Fire Fighting, Plumbing, Landscaping & External Works minimum of G+2 Floors of multi-storied building works (minimum height of 9 mtrs.) ii) One Similar Work” shall mean construction of Multistoried Buildings (minimum G+2 Floors storied) such as Institutional Buildings, Commercial Buildings/ Office complex and IT Buildings/ IT parks for which construction has been completed.One Similar Work” shall mean construction of Multistoried Buildings (minimum G+2 Floors storied) iii) Experience of having successfully completed similar works during the last 7 years ending 30th June 2025 BIDDER should have successfully completed One project in Civil Construction, HVAC, Electrical HT/LT, DG Sets, IBMS, Fire Fighting, Plumbing, Landscaping & External Works for a cumulative value of not less than Rs.14.40 Crores. | The firm who has successfully executed G+1 floor, including comprehensive MEP services for single project valued more than Rs.14.40 crores are eligible. We also agreed to an enhancement of 7% per annum in project value for eligibility evaluation.
27 | Page No-5 , Sl no 3 | Earnest Money deposit | Account Name - Indian Institute of Banking and Finance Account number- 10783154783 Ifsc- SBIN0001886 Bank Name: State Bank of India Branch - Kurla west
28 | Page No-15, Sl no vi) | Solvency Certificate: Solvency certificate from Scheduled Banks for an amount which is more than or equal to 40% of the estimated cost of the work. | Solvency Certificates issued by Scheduled Banks will only be accepted. ( Solvency Amount of Rs.7.50 crs) .
29 | Page No-16, 4.3.1 | 7. Registration certificate of WCT | As the project falls under the purview of GST regulations. The Registration certificate for Works Contract Tax (WCT) is not required,
30 | BOQ Item No.05 | Item no.5 Vertical Load Test - Group of two or more piles upto 50 ton Safe Capacity. | The vertical load test item has been modified and included in the BOQ.
31 |  | Item No.31 – Pre laminated particle Board | 12 mm Thick Prelaminated Particle board
32 |  | Item No.68 - Painting with Synthetic enamel Paint | This is a QRO item. Rate only to be quoted for this item. It will not be included in the financial evaluation.
33 |  | Item No.81 – Scaffolding Charges | Scaffolding item is modified and included in the BOQ.
34 |  | Item No.84 – Exposed Stone Cladding | Natural Stone and the basic price will be Rs.120/sqft.
35 | Page No 47 | Vol-III – SITE BARRICATION | For Site Barrication we added as an separate item in BOQ.
36 |  | ELECTRICAL WORKS APPROVED MAKE | In addition to the approved makes specified in the tender, CUMMINS make may also be considered acceptable for the Generator Engine.
37 |  | ELECTRICAL WORKS APPROVED MAKE | In addition to the approved makes mentioned in the tender, KIRLOSKAR make shall also be considered acceptable for the Dry Type Transformer.
38 | 1 of 1 | Note:- Billing measurement of the area to be taken by length of the driven sheet multiplied by perimeter of the boundary if the sheet pile The Ǫuoted rated need to consider for two- month basis | Actual Driven Length will be measured for Payment
39 | Tender Conditions Clause 02 Page 14 | The BIDDER should be a well-established Civil Engineering contractor, registered as a legal entity and having an experience of minimum 5 years and shall have experience in Civil Construction, HVAC, Electrical HT/LT, DG Sets, IBMS, Fire Fighting, Plumbing, Landscaping & External Works minimum of G+2 Floors of multi-storied building works (minimum height of 9 mtrs.) ii) One Similar Work” shall mean construction of Multistoried Buildings (minimum G+2 Floors storied) such as Institutional Buildings, Commercial Buildings/ Office complex and IT Buildings/ IT parks for which construction has been completed. iii) Experience of having successfully completed similar works during the last 7 years ending 30th June 2025 | Civil works combined with other MEP services such as electrical and plumbing—excluding HVAC—will be considered as eligible criteria.
40 | Notice Inviting Tender Clause 06 | 17.07.2025 up to 15:00 Hrs. Hard copy of the Tenders to be submitted with the Technical and Financial bid with duly sealed and signed. The BOQ rates and Amount to be filled and submitted in the Hardcopy format. The soft copy of the BOQ should submit in non editable format ( pen drive) in sealed cover. | The deadline for Tender Bid submission has been extended upto 3:00 PM on 28.07.2025.
41 | 2. ELIGIBILITY CRITERIA Page 14 of 109 | i) The BIDDER should be a well-established Civil Engineering contractor, registered as a legal entity and having an experience of minimum 5 years and shall have experience in Civil Construction, HVAC, Electrical HT/LT, DG Sets, IBMS, Fire Fighting, Plumbing, Landscaping & External Works minimum of G+2 Floors of multi-storied building works (minimum height of 9 mtrs.) ii) One Similar Work” shall mean construction of Multistoried Buildings (minimum G+2 Floors storied) such as Institutional Buildings, Commercial Buildings/ Office complex and IT Buildings/ IT parks for which construction has been completed.One Similar Work” shall mean construction of Multistoried Buildings (minimum G+2 Floors storied) iii) Experience of having successfully completed similar works during the last 7 years ending 30th June 2025 BIDDER should have successfully completed One project in Civil Construction, HVAC, Electrical HT/LT, DG Sets, IBMS, Fire Fighting, Plumbing, Landscaping & External Works for a cumulative value of not less than Rs.14.40 Crores. | The firm who has successfully executed G+1 floor, including comprehensive MEP services for single project valued more than Rs.14.40 crores are eligible. We also agreed to an enhancement of 7% per annum in project value for eligibility evaluation.
42 |  | Item No.39 to 2 UPVC windows: make is not mentioned in the BOQ | UPVC Windows: Fenesta, Reheau, Veka or Equivalent approved make
43 |  | Basic rates mentioned in BOQ | Basic rates without GST
44 | ITEM NO: 77 | FALSE CEILING | 1. Gypsum Ceiling - INDIA GYPSUM/USV BORAL/Gyproc/ Saint Gobain/ Ramco or approved equivalent. 2. Acoustical: a) Gypsum - AMSTRONG / USG / DAIKEN /AMF b) Fibrous - AMSTRONG / NITTOBO / AMF / USG/ DAIKEN c) AMSTRONG / HUNTER – DOUGLAS / DAIKEN/AMF d) Ramco, Hilux, Armstrong, Gyprock Saint Gobain
45 | ITEM NO: 78 | SEMI UNITISED CURTAIN WALL SYSTEM | For Semi Unitised Curtain wall system, the aluminium section will be Zindal/ Indal make and the Glass will be Saint Gobain / AIS or equivalent.