## STP
PROPOSED OFFICE CUM TRAINING CENTRE FOR INDIAN INSTITUTE OF BANKING AND FINANCE, CHENNAI
BILL OF QUANTITIES FOR SEWAGE TREATMENT PLANT WORKS
Sl. No | Description | Unit | Qty | Rate | Amount
1 | Design, Supply, Installation, Testing & Commissioning of MBBR / FBBR Type 6.0 KLD STP including Ultrafiltration system of 1000LPH (Treated water used for flushing purpose) with below equipements & tanks as mentioned below. SS bar screen , Submersible type Raw Sewage water pumps (2nos. - 1 working + 1 standby), Twin Lobe Rotary type Air blower diffusers (2nos. - 1 working + 1 standby), FBBR / MBBR media, Air grid for tanks, Sludge pumps, Filter feed pumps, Dosing pump, Pressure sand filter, Activated carbon filter, Drain pit pump, UF Back Wash Pump with motor, UF feed pumps, UF filtration equipments, tank, membrane, valves, necessary cables, interconnecting pipe & fittings, electrical control panel etc. For Civil Tanks refer the STP schematic layout. Kindly refter STP Technical specifications before quoting the rates | KLD | 6